## GeneralNotes
Here is place for general information about the process of data processing.
e.g. pictures of typical rooms, assumptions done
Notes for the user:
Area 1, Area 2 etc. could for example differentiated by the supply fan. So for each ventilation system one tab, if not it should be marked within the tab.
If an inner wall is reaching inside a room but is not the limit of the room, it should be accounted with 2x the area
Of course not all information can be found in a building plan, but any information that can be retrieved should be retrieved, espacially
Keep names within the table equal, so that the excel sheets can be processed by a computer. (e.g. wall property: "1" , then define wall property 1 in general notes
Take care of differing ambient conditions due to shading or inner courtyards, this could be marked explicitly in an extra column. Second option: every outer wall section is defined here by certain index, this index is then used in outer wall direction and window direction.

## Konstanten
Deckenhöhe [m]
Fenster | 1.35
Zimmer | 2.5
Etagenhöhe | 4.25

## Windows
Floor 7
ROOM NUMBER | WINDOW ID | SIZE |  | KD2 | AMOUNT | TOTAL NUMBER WINDOWS
KL7.008 | IU11-v | 1100 | 1320 |  | 1 | 82
KL7.008 | IU18-v | 1795 | 1320 |  | 1
KL7.008 | IU8-o | 800 | 1320 |  | 1
KL7.009 | IU16-o | 1615 | 1320 |  | 1
KL7.009 | IU8-v | 800 | 1320 |  | 1
KL7.010 | IU16-v | 1615 | 1320 |  | 1
KL7.010 | IU8-o | 800 | 1320 |  | 1
KL7.011 | IU17,5-o | 1740 | 1320 |  | 1
KL7.011 | IU8-v | 800 | 1320 |  | 1
KL7.013 | IU17,5-v | 1740 | 1320 |  | 1
KL7.013 | IU8-o | 800 | 1320 |  | 1
KL7.014 | IU18,5-o | 1855 | 1320 |  | 1
KL7.014 | IU7-v | 675 | 1320 |  | 1
KL7.017 | IUA21-o | 2120 | 1670 |  | 1
KL7.017 | IUA6-v | 570 | 1670 |  | 1
KL7.021 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL7.021 | IU21-v | 2120 | 1670 |  | 1
KL7.024 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL7.024 | IU21-o | 2120 | 1670 |  | 1
KL7.027 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL7.027 | IU21-v | 2120 | 1670 |  | 1
KL7.030 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL7.030 | IU20-v | 1995 | 1670 |  | 1
KL7.033 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL7.033 | IU20-o | 1995 | 1670 |  | 1
KL7.036 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL7.036 | IU20-v | 1995 | 1670 |  | 1
KL7.039 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL7.039 | IU20-o | 1995 | 1670 |  | 1
KL7.042 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL7.042 | IU20-v | 1995 | 1670 |  | 1
KL7.045 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL7.045 | IU20-o | 1995 | 1670 |  | 1
KL7.062 | IUA24-v | 2410 | 1670 |  | 1
KL7.062 | IUA9,5-o | 940 | 1670 |  | 1
KL7.064 | IUA18,5-o | 1840 | 1670 |  | 1
KL7.064 | IUA6-o | 610 | 1670 |  | 2
KL7.066 | IU18-o+VTL3-o | 2075 | 1670 |  | 1
KL7.066 | IU21-v | 2120 | 1670 |  | 1
KL7.071 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL7.071 | IU21-o | 2120 | 1670 |  | 1
KL7.074 | IU11-v+OTL-v | 1350 | 1670 |  | 1
KL7.074 | IU21-o | 2120 | 1670 |  | 1
KL7.077 | IU20-o | 1995 | 1670 |  | 1
KL7.077 | IU9,5-v+VTL3-o | 1200 | 1670 |  | 1
KL7.080 | IU11,5-v+TL3-v | 1155 | 1670 |  | 1
KL7.080 | IU21-o | 2120 | 1670 |  | 1
KL7.118 | IUA10,5-o | 1050 | 1670 |  | 1
KL7.118 | IUA13,5-v | 1345 | 1670 |  | 1
KL7.118 | IUA14,5-o | 1440 | 1670 |  | 1
KL7.122 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL7.122 | IU20-o | 1995 | 1670 |  | 1
KL7.127 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL7.127 | IU21-v | 2120 | 1670 |  | 1
KL7.131 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL7.131 | IU21-o | 2120 | 1670 |  | 1
KL7.134 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL7.134 | IU21-v | 2120 | 1670 |  | 1
KL7.137 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL7.137 | IU14,5-o | 1445 | 540 |  | 1
KL7.137 | IU14,5-v | 1445 | 540 |  | 1
KL7.137 | IU19,5-v | 1970 | 1670 |  | 1
KL7.140 | IU11-v+OTL3-v | 1350 | 1670 |  | 1
KL7.140 | IU21-o | 2120 | 1670 |  | 1
KL7.143 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL7.143 | IU21-v | 2120 | 1670 |  | 1
KL7.148 | IU21-v | 2120 | 1670 |  | 1
KL7.150 | IU11-v+OTL3-v | 1350 | 1670 |  | 1
KL7.150 | IU21-o | 2120 | 1670 |  | 1
KL7.153 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL7.153 | IU21-v | 2120 | 1670 |  | 1
KL7.156 | IU11-v+OTL3-v | 1350 | 1670 |  | 1
KL7.156 | IU21-o | 2120 | 1670 |  | 1
KL7.159 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL7.159 | IU21-v | 2120 | 1670 |  | 1
KL7.162 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL7.162 | IU20-v | 1995 | 1670 |  | 1
KL7.164 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL7.164 | IU21-o | 2120 | 1670 |  | 1
KL7.P2 | IU13-o SP | 1300 | 490 |  | 1
KL7.P3 | IU13-o | 1300 | 490 |  | 1

## TK01_7
Index | Floor | UsageType | addition | RoomIdentifier | BelongsToIdentifier | NetArea[m²] | HeatedRoomHeight[m] | Window Count | Window 1 ID | Window 1[m] | Window 1[m] | Window1Area[m²] | Window 2 ID | Window 2[m] | Window 2[m] | Window2Area[m²] | Window 3 ID | Window 3[m] | Window 3[m] | Window3Area[m²] | Window 4 ID | Window 4[m] | Window 4[m] | Window4Area[m²] | WindowOrientation[°] | WindowArea[m²] | WindowConstruction | OuterWallOrientation[°] | Outer Wall length [drawing mm] | Outer Wall length [m] | OuterWallAreaInclWindow | OuterWallArea[m²] | OuterWallConstruction | WallAdjacentTo | Inner walls length[drawing mm] | Inner walls length[m] | InnerWallArea[m²] | InnerWallConstruction | IsGroundFloor | IsRooftop | FloorConstruction | CeilingConstruction | Window Ventilation (1/0) | Ventilated (1/0) | Mixing Ventilation (1/0) | Fan Number | Supply Flow [m³/h] | Supply Temp [°C] | Exhaust Flow [m³/h] | Exhaust Temp [°C] | Target Temperature [°C] | Heating times | Occupancy schedule | Occupancy Intensity | etc.
1 | 7 | IsolationRoom |  | KL7.045 |  | 19.3 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU20-o | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 91.4 | 4.57 | 19.4225 | 13.8781 | US04 |  | 264.5 | 13.225 | 37.03 |  | 0 | 0
2 | 7 | IsolationRoom |  | KL7.044 | KL7.045 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 178.7 | 8.935 | 25.018 |  | 0 | 0
3 | 7 | Washing |  | KL7.046 | KL7.045 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
4 | 7 | IsolationRoom |  | KL7.042 |  | 19.3 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU20-v | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 91.4 | 4.57 | 19.4225 | 13.8781 | US04 |  | 264.5 | 13.225 | 37.03 |  | 0 | 0
5 | 7 | IsolationRoom |  | KL7.041 | KL7.042 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 178.7 | 8.935 | 25.018 |  | 0 | 0
6 | 7 | Washing |  | KL7.043 | KL7.042 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
7 | 7 | IsolationRoom |  | KL7.039 |  | 19.3 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU20-o | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 91.4 | 4.57 | 19.4225 | 13.8781 | US04 |  | 264.5 | 13.225 | 37.03 |  | 0 | 0
8 | 7 | IsolationRoom |  | KL7.038 | KL7.039 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 178.7 | 8.935 | 25.018 |  | 0 | 0
9 | 7 | Washing |  | KL7.040 | KL7.039 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
10 | 7 | IsolationRoom |  | KL7.036 |  | 19.3 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU20-v | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 91.4 | 4.57 | 19.4225 | 13.8781 | US04 |  | 264.5 | 13.225 | 37.03 |  | 0 | 0
11 | 7 | Washing |  | KL7.037 | KL7.036 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
12 | 7 | IsolationRoom |  | KL7.035 | KL7.036 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 178.7 | 8.935 | 25.018 |  | 0 | 0
13 | 7 | IsolationRoom |  | KL7.033 |  | 19.3 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU20-o | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 91.4 | 4.57 | 19.4225 | 13.8781 | US04 |  | 264.5 | 13.225 | 37.03 |  | 0 | 0
14 | 7 | IsolationRoom |  | KL7.032 | KL7.033 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 178.7 | 8.935 | 25.018 |  | 0 | 0
15 | 7 | Washing |  | KL7.034 | KL7.033 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
16 | 7 | IsolationRoom |  | KL7.030 |  | 19.3 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU20-v | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 91.4 | 4.57 | 19.4225 | 13.8781 | US04 |  | 264.5 | 13.225 | 37.03 |  | 0 | 0
17 | 7 | IsolationRoom |  | KL7.029 | KL7.030 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 178.7 | 8.935 | 25.018 |  | 0 | 0
18 | 7 | Washing |  | KL7.031 | KL7.030 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
19 | 7 | IsolationRoom |  | KL7.027 |  | 23.4 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.7531 |  | 312 | 94.5 | 4.725 | 20.0812 | 14.3281 | US04 |  | 313.3 | 15.665 | 43.862 |  | 0 | 0
20 | 7 | IsolationRoom |  | KL7.026 | KL7.027 | 7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 237.72 | 11.886 | 33.2808 |  | 0 | 0
21 | 7 | Washing |  | KL7.028 | KL7.027 | 6.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 207.1 | 10.355 | 28.994 |  | 0 | 0
22 | 7 | IsolationRoom |  | KL7.024 |  | 23.4 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.7531 |  | 312 | 94.5 | 4.725 | 20.0812 | 14.3281 | US04 |  | 313.3 | 15.665 | 43.862 |  | 0 | 0
23 | 7 | IsolationRoom |  | KL7.023 | KL7.024 | 7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 237.72 | 11.886 | 33.2808 |  | 0 | 0
24 | 7 | Washing |  | KL7.025 | KL7.024 | 6.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 312 | 51.75 | 2.5875 | 10.9969 | 10.9969 | US04 |  | 155.25 | 7.7625 | 21.735 |  | 0 | 0
25 | 7 | IsolationRoom |  | KL7.021 |  | 23.4 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.7531 |  | 312 | 94.5 | 4.725 | 20.0812 | 14.3281 | US04 |  | 313.3 | 15.665 | 43.862 |  | 0 | 0
26 | 7 | IsolationRoom |  | KL7.020 | KL7.021 | 7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 237.72 | 11.886 | 33.2808 |  | 0 | 0
27 | 7 | Washing |  | KL7.022 | KL7.021 | 6.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 207.1 | 10.355 | 28.994 |  | 0 | 0
28 | 7 | IsolationRoom |  | KL7.017 |  | 23.4 | 2.5 | 2 | IUA21-o | 2.12 | 1.67 | 3.5404 | IUA6-v | 0.57 | 1.67 | 0.9519 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 4.4923 |  | 312 | 94.5 | 4.725 | 20.0812 | 15.5889 | US04 |  | 280.86 | 14.043 | 39.3204 |  | 0 | 0
29 | 7 |  |  | KL7.017 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 222 | 32.44 | 1.622 | 6.8935 | 6.8935 | US04 |  | 0 | 0 | 0 |  | 0 | 0
30 | 7 | Washing |  | KL7.018 | KL7.017 | 6.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 312 | 51.75 | 2.5875 | 10.9969 | 10.9969 | US04 |  | 155.25 | 7.7625 | 21.735 |  | 0 | 0
31 | 7 | IsolationRoom |  | KL7.016 | KL7.017 | 7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 237.72 | 11.886 | 33.2808 |  | 0 | 0
32 | 7 | EquipmentServiceAndRinse |  | KL7.015 |  | 8.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 270 | 90.65 | 4.5325 | 19.2631 | 19.2631 | US04 |  | 173.75 | 8.6875 | 24.325 |  | 0 | 0
33 | 7 | IsolationRoom |  | KL7.048 |  | 15.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 347.94 | 17.397 | 48.7116 |  | 0 | 0
34 | 7 | Lounge |  | KL7.049 |  | 32.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 222 | 104.91 | 5.2455 | 22.2934 | 22.2934 | US04 |  | 366.19 | 18.3095 | 51.2666 |  | 0 | 0
35 | 7 | Technical room |  | KL7.052 |  | 9.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 102.82 | 5.141 | 21.8493 | 21.8493 | US04 |  | 182.17 | 9.1085 | 25.5038 |  | 0 | 0
36 | 7 | Technical room |  | KL7.053 |  | 9.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 222 | 57.09 | 2.8545 | 12.1316 | 12.1316 | US04 |  | 233.9 | 11.695 | 32.746 |  | 0 | 0
37 | 7 | Office |  | KL7.056 |  | 6.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 68 | 3.4 | 14.45 | 14.45 | US04 |  | 148.62 | 7.431 | 20.8068 |  | 0 | 0
38 | 7 | Office |  | KL7.014 |  | 24 | 2.5 | 2 | IU18,5-o | 1.855 | 1.32 | 2.4486 | IU7-v | 0.675 | 1.32 | 0.891 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 270 | 3.3396 |  | 270 | 114 | 5.7 | 24.225 | 20.8854 | US07 |  | 213.34 | 10.667 | 29.8676 |  | 0 | 0
39 | 7 |  |  | KL7.014 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 180 | 95 | 4.75 | 20.1875 | 20.1875 | US04 |  | 0 | 0 | 0 |  | 0 | 0
40 | 7 | Office |  | KL7.013 |  | 9.9 | 2.5 | 2 | IU17,5-v | 1.74 | 1.32 | 2.2968 | IU8-o | 0.8 | 1.32 | 1.056 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.3528 |  | 180 | 55.7 | 2.785 | 11.8362 | 8.4834 | US04 |  | 268 | 13.4 | 37.52 |  | 0 | 0
41 | 7 | Office |  | KL7.011 |  | 14 | 2.5 | 2 | IU17,5-o | 1.74 | 1.32 | 2.2968 | IU8-v | 0.8 | 1.32 | 1.056 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.3528 |  | 180 | 55.7 | 2.785 | 11.8362 | 8.4834 | US04 |  | 268 | 13.4 | 37.52 |  | 0 | 0
42 | 7 | Office |  | KL7.010 |  | 13.9 | 2.5 | 2 | IU16-v | 1.615 | 1.32 | 2.1318 | IU8-o | 0.8 | 1.32 | 1.056 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.1878 |  | 180 | 55.7 | 2.785 | 11.8362 | 8.6485 | US04 |  | 268 | 13.4 | 37.52 |  | 0 | 0
43 | 7 | Office |  | KL7.009 |  | 13.9 | 2.5 | 2 | IU16-o | 1.615 | 1.32 | 2.1318 | IU8-v | 0.8 | 1.32 | 1.056 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.1878 |  | 180 | 55.7 | 2.785 | 11.8362 | 8.6485 | US04 |  | 268 | 13.4 | 37.52 |  | 0 | 0
44 | 7 | Office |  | KL7.008 |  | 23 | 2.5 | 3 | IU11-v | 1.1 | 1.32 | 1.452 | IU18-v | 1.795 | 1.32 | 2.3694 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.8214 |  | 180 | 89.09 | 4.4545 | 18.9316 | 15.1102 | US05 |  | 198 | 9.9 | 27.72 |  | 0 | 0
45 | 7 |  |  | KL7.008 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 90 | 89.09 | 4.4545 | 18.9316 | 18.9316 | US04 |  | 0 | 0 | 0 |  | 0 | 0
46 | 7 | WC |  | KL7.007 |  | 2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 90 | 4.5 | 12.6 |  | 0 | 0
47 | 7 | Lounge |  | KL7.006 |  | 11.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 73.45 | 3.6725 | 15.6081 | 15.6081 | US04 |  | 197.52 | 9.876 | 27.6528 |  | 0 | 0
48 | 7 | Aisle |  | KL7.001 |  | 51.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 110 | 5.5 | 23.375 | 23.375 | US04 |  | 317 | 15.85 | 44.38 |  | 0 | 0
49 | 7 |  |  | KL7.001 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 222 | 198.12 | 9.906 | 42.1005 | 42.1005 | US04 |  | 0 | 0 | 0 |  | 0 | 0
50 | 7 | Aisle |  | KL7.002 |  | 13.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 313 | 15.65 | 43.82 |  | 0 | 0
51 | 7 | Aisle |  | KL7.003 |  | 115.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 1832 | 91.6 | 256.48 |  | 0 | 0
52 | 7 | Aisle |  | KL7.004 |  | 29.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 477.84 | 23.892 | 66.8976 |  | 0 | 0
53 | 7 | Aisle |  | KL7.005 |  | 9.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 250 | 12.5 | 35 |  | 0 | 0
54 | 7 | Aisle |  | KL7.012 |  | 3.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 164.7 | 8.235 | 23.058 |  | 0 | 0
55 | 7 | Storage |  | KL7.019 |  | 4.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 180 | 9 | 25.2 |  | 0 | 0
56 | 7 | WC |  | KL7.050 |  | 7.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 224.92 | 11.246 | 31.4888 |  | 0 | 0
57 | 7 | WC |  | KL7.051 |  | 14.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 367.66 | 18.383 | 51.4724 |  | 0 | 0
Note on G1: Raetz, Martin: Only numbers allowed!
Note on AH1: Schwenzer, Christian: noch zu prüfen

## Zones_TK01
Zone 14 |  | Zone 15 |  | Zone 16
| Zone 17 |  | Zone 18 |  | Zone 19

## TK02_7
Index | Floor | UsageType | addition | RoomIdentifier | BelongsToIdentifier | NetArea[m²] | HeatedRoomHeight[m] | Window Count | Window 1 ID | Window 1[m] | Window 1[m] | Window1Area[m²] | Window 2 ID | Window 2[m] | Window 2[m] | Window2Area[m²] | Window 3 ID | Window 3[m] | Window 3[m] | Window3Area[m²] | Window 4 ID | Window 4[m] | Window 4[m] | Window4Area[m²] | WindowOrientation[°] | WindowArea[m²] | WindowConstruction | OuterWallOrientation[°] | Outer Wall length [drawing mm] | Outer Wall length [m] | OuterWallAreaInclWindow | OuterWallArea[m²] | OuterWallConstruction | WallAdjacentTo | Inner walls length[drawing mm] | Inner walls length[m] | InnerWallArea[m²] | InnerWallConstruction | IsGroundFloor | IsRooftop | FloorConstruction | CeilingConstruction | Window Ventilation (1/0) | Ventilated (1/0) | Mixing Ventilation (1/0) | Fan Number | Supply Flow [m³/h] | Supply Temp [°C] | Exhaust Flow [m³/h] | Exhaust Temp [°C] | Target Temperature [°C] | Heating times | Occupancy schedule | Occupancy Intensity | etc.
1 | 7 | IsolationRoom |  | KL7.066 |  | 24.14 | 2.5 | 2 | IU18-o+VTL3-o | 2.075 | 1.67 | 3.4653 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 7.0057 |  | 312 | 125.83 | 6.2915 | 26.7389 | 19.7332 | US04 |  | 201.08 | 10.054 | 28.1512 |  | 0 | 0
2 | 7 |  |  | KL7.066 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 109.63 | 5.4815 | 23.2964 | 23.2964 | US04 |  |  | 0 | 0 |  | 0 | 0
3 | 7 | IsolationRoom |  | KL7.065 |  | 6.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 32.97 | 1.6485 | 7.0061 | 7.0061 | US04 |  | 190 | 9.5 | 26.6 |  | 0 | 0
4 | 7 | Washing |  | KL7.067 | KL7.066 | 5.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 195 | 9.75 | 27.3 |  | 0 | 0
5 | 7 | Aisle |  | KL7.063 |  | 5.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 203.65 | 10.1825 | 28.511 |  | 0 | 0
6 | 7 | Aisle |  | KL7.057 |  | 45.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 47.59 | 2.3795 | 10.1129 | 10.1129 | US04 |  | 819.18 | 40.959 | 114.6852 |  | 0 | 0
7 | 7 | Aisle |  | KL7.060 |  | 15 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 319.84 | 15.992 | 44.7776 |  | 0 | 0
8 | 7 | Aisle |  | KL7.058 |  | 50.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 939.75 | 46.9875 | 131.565 |  | 0 | 0
9 | 7 | Aisle |  | KL7.059 |  | 27.2 | 2.5 | 4 | NO ID FOUND | 2.1415 | 2.8 | 5.9962 | NO ID FOUND | 2.1415 | 2.8 | 5.9962 | NO ID FOUND | 2.1415 | 2.8 | 5.9962 | NO ID FOUND | 2.1415 | 2.8 | 5.9962 | 132 | 23.9848 |  | 132 | 0 | 0 | 0 | 0 |  |  | 295 | 14.75 | 41.3 |  | 0 | 0
10 | 7 | Aisle |  | KL7.092 |  | 42.5 | 2.5 | 1 | NO ID FOUND | 2.138 | 2.8 | 5.9864 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 132 | 5.9864 |  | 132 | 0 | 0 | 0 | 0 |  |  | 748 | 37.4 | 104.72 |  | 0 | 0
11 | 7 | Aisle |  | KL7.091 |  | 40.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 933 | 46.65 | 130.62 |  | 0 | 0
12 | 7 | Office |  | KL7.064 |  | 13.6 | 2.5 | 2 | IUA18,5-o | 1.84 | 1.67 | 3.0728 | IUA6-o | 0.61 | 1.67 | 1.0187 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 4.0915 |  | 312 | 72.44 | 3.622 | 15.3935 | 11.302 | US05 |  | 234.12 | 11.706 | 32.7768 |  | 0 | 0
13 | 7 | Office |  | KL7.062 |  | 24.9 | 2.5 | 2 | IUA24-v | 2.41 | 1.67 | 4.0247 | IUA9,5-o | 0.94 | 1.67 | 1.5698 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5945 |  | 312 | 72.44 | 3.622 | 15.3935 | 9.799 | US04 |  | 419.67 | 20.9835 | 58.7538 |  | 0 | 0
14 | 7 | Technical room |  | KL7.068 |  | 7.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 32.36 | 1.618 | 6.8765 | 6.8765 | US05 |  | 235.27 | 11.7635 | 32.9378 |  | 0 | 0
15 | 7 | Technical room |  | KL7.069 |  | 8.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 273 | 13.65 | 38.22 |  | 0 | 0
16 | 7 | StorageChemical |  | KL7.090 |  | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 174 | 8.7 | 24.36 |  | 0 | 0
17 | 7 | WC |  | KL7.088 |  | 3.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 155.48 | 7.774 | 21.7672 |  | 0 | 0
18 | 7 | StorageChemical |  | KL7.089 |  | 19.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 42.76 | 2.138 | 9.0865 | 9.0865 |  |  | 318.06 | 15.903 | 44.5284 |  | 0 | 0
19 | 7 | IsolationRoom |  | KL7.047 |  | 14.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 60.55 | 3.0275 | 12.8669 | 12.8669 |  |  | 299.59 | 14.9795 | 41.9426 |  | 0 | 0
20 | 7 | IsolationRoom |  | KL7.071 |  | 27.9 | 2.5 | 2 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7949 |  | 42 | 96 | 4.8 | 20.4 | 14.6051 | US04 |  | 333.94 | 16.697 | 46.7516 |  | 0 | 0
21 | 7 | IsolationRoom |  | KL7.070 | KL7.071 | 5.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 177.85 | 8.8925 | 24.899 |  | 0 | 0
22 | 7 | Washing |  | KL7.072 | KL7.071 | 5.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
23 | 7 | IsolationRoom |  | KL7.074 |  | 26.9 | 2.5 | 2 | IU11-v+OTL-v | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7949 |  | 42 | 96 | 4.8 | 20.4 | 14.6051 | US04 |  | 343.92 | 17.196 | 48.1488 |  | 0 | 0
24 | 7 | Washing |  | KL7.075 | KL7.074 | 5.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
25 | 7 | IsolationRoom |  | KL7.073 | KL7.074 | 5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 177.85 | 8.8925 | 24.899 |  | 0 | 0
26 | 7 | IsolationRoom |  | KL7.077 |  | 26.8 | 2.5 | 2 | IU20-o | 1.995 | 1.67 | 3.3317 | IU9,5-v+VTL3-o | 1.2 | 1.67 | 2.004 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.3357 |  | 42 | 96 | 4.8 | 20.4 | 15.0643 | US04 |  | 343.92 | 17.196 | 48.1488 |  | 0 | 0
27 | 7 | Washing |  | KL7.078 | KL7.077 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
28 | 7 | IsolationRoom |  | KL7.076 | KL7.077 | 4.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 177.85 | 8.8925 | 24.899 |  | 0 | 0
29 | 7 | IsolationRoom |  | KL7.080 |  | 29.4 | 2.5 | 2 | IU11,5-v+TL3-v | 1.155 | 1.67 | 1.9288 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.4692 |  | 42 | 98.84 | 4.942 | 21.0035 | 15.5343 | US04 |  | 215 | 10.75 | 30.1 |  | 0 | 0
30 | 7 |  |  | KL7.080 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 136.31 | 6.8155 | 28.9659 | 28.9659 | US04 |  | 0 | 0 | 0 |  | 0 | 0
31 | 7 | IsolationRoom |  | KL7.079 | KL7.080 | 5.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 50.12 | 2.506 | 10.6505 | 10.6505 | US05 |  | 150 | 7.5 | 21 |  | 0 | 0
32 | 7 | Washing |  | KL7.081 | KL7.080 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 200 | 10 | 28 |  | 0 | 0
33 | 7 | Storage |  | KL7.102 |  | 10.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 33.37 | 1.6685 | 7.0911 | 7.0911 | US04 |  | 226.89 | 11.3445 | 31.7646 |  | 0 | 0
34 | 7 | WC |  | KL7.103 |  | 2.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 140 | 7 | 19.6 |  | 0 | 0
35 | 7 | Office |  | KL7.087 |  | 12 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 222 | 67 | 3.35 | 14.2375 | 14.2375 | US04 |  | 212.09 | 10.6045 | 29.6926 |  | 0 | 0
36 | 7 | Reception |  | KL7.086 |  | 16.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 222 | 88.65 | 4.4325 | 18.8381 | 18.8381 | US04 |  | 236 | 11.8 | 33.04 |  | 0 | 0
37 | 7 | Storage |  | KL7.085 |  | 6.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 222 | 38.85 | 1.9425 | 8.2556 | 8.2556 | US04 |  | 184 | 9.2 | 25.76 |  | 0 | 0
38 | 7 | Storage |  | KL7.084 |  | 7.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 222 | 38.85 | 1.9425 | 8.2556 | 8.2556 | US04 |  | 184 | 9.2 | 25.76 |  | 0 | 0
39 | 7 | Storage |  | KL7.083 |  | 10.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 277.84 | 13.892 | 38.8976 |  | 0 | 0
40 | 7 | EquipmentServiceAndRinse |  | KL7.082 |  | 8.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 275 | 13.75 | 38.5 |  | 0 | 0
41 | 7 | Kitchen |  | KL7.101 |  | 22.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 312 | 68.9 | 3.445 | 14.6413 | 14.6413 | US04 |  | 310.98 | 15.549 | 43.5372 |  | 0 | 0
42 | 7 | Storage |  | KL7.100 |  | 17.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 68.9 | 3.445 | 14.6413 | 14.6413 | US04 |  | 275.57 | 13.7785 | 38.5798 |  | 0 | 0
43 | 7 | Storage |  | KL7.099 |  | 15 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 74.7 | 3.735 | 15.8737 | 15.8737 | US04 |  | 260.68 | 13.034 | 36.4952 |  | 0 | 0
44 | 7 | EquipmentServiceAndRinse |  | KL7.098 |  | 10.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 48.88 | 2.444 | 10.387 | 10.387 | US04 |  | 223.91 | 11.1955 | 31.3474 |  | 0 | 0
45 | 7 | EquipmentServiceAndRinse |  | KL7.097 |  | 10.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 22.45 | 1.1225 | 4.7706 | 4.7706 | US04 |  | 243.72 | 12.186 | 34.1208 |  | 0 | 0
46 | 7 | Office |  | KL7.096 |  | 10.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 277 | 13.85 | 38.78 |  | 0 | 0
47 | 7 | WasteHandling |  | KL7.095 |  | 12.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 313.19 | 15.6595 | 43.8466 |  | 0 | 0
48 | 7 | Office |  | KL7.093 |  | 15 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A | 0 | 0 | 0 | 0 |  |  | 333.82 | 16.691 | 46.7348 |  | 0 | 0
49 | 7 | Lounge |  | KL7.094 |  | 9.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 270 | 117.64 | 5.882 | 24.9985 | 24.9985 | US04 |  | 181.17 | 9.0585 | 25.3638 |  | 0 | 0
50 | 7 | WC |  | KL7.061 |  | 22.6 | 2.5 | 3 | NO ID FOUND | 2.5145 | 1.67 | 4.1992 | NO ID FOUND | 0.7875 | 1.67 | 1.3151 | NO ID FOUND | 1.4985 | 1.67 | 2.5025 | 0 | #N/A | #N/A | 0 | 312 | 8.0168 |  | 312 | 100.67 | 5.0335 | 21.3924 | 13.3755 | US04 |  | 280.31 | 14.0155 | 39.2434 |  | 0 | 0
Note on G1: Raetz, Martin: Only numbers allowed!
Note on AH1: Schwenzer, Christian: noch zu prüfen

## Zones_TK02
Zone 5 |  | Zone 7 |  | Zone 8 | Zone 9
Zone 10 | Zone 11 |  | Zone 12

## TK03_7
Index | Floor | UsageType | addition | RoomIdentifier | BelongsToIdentifier | NetArea[m²] | HeatedRoomHeight[m] | Window Count | Window 1 ID | Window 1[m] | Window 1[m] | Window1Area[m²] | Window 2 ID | Window 2[m] | Window 2[m] | Window2Area[m²] | Window 3 ID | Window 3[m] | Window 3[m] | Window3Area[m²] | Window 4 ID | Window 4[m] | Window 4[m] | Window4Area[m²] | WindowOrientation[°] | WindowArea[m²] | WindowConstruction | OuterWallOrientation[°] | Outer Wall length [drawing mm] | Outer Wall length [m] | OuterWallAreaInclWindow | OuterWallArea[m²] | OuterWallConstruction | WallAdjacentTo | Inner walls length[drawing mm] | Inner walls length[m] | InnerWallArea[m²] | InnerWallConstruction | IsGroundFloor | IsRooftop | FloorConstruction | CeilingConstruction | Window Ventilation (1/0) | Ventilated (1/0) | Mixing Ventilation (1/0) | Fan Number | Supply Flow [m³/h] | Supply Temp [°C] | Exhaust Flow [m³/h] | Exhaust Temp [°C] | Target Temperature [°C] | Heating times | Occupancy schedule | Occupancy Intensity | etc.
1 | 7 | IsolationRoom |  | KL7.137 |  | 28 | 2.5 | 4 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU14,5-o | 1.445 | 0.54 | 0.7803 | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | #N/A | 0 | 222 | 3.0348 |  | 222 | 100 | 5 | 21.25 | 18.2152 | US05 |  | 203.66 | 10.183 | 28.5124 |  | 0 | 0
2 | 7 |  |  | KL7.137 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 133 | 6.65 | 28.2625 | 28.2625 | US05 |  | 0 | 0 | 0 |  | 0 | 0
3 | 7 | Washing |  | KL7.138 | KL7.137 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 210 | 10.5 | 29.4 |  | 0 | 0
4 | 7 | AirLock |  | KL7.136 | KL7.137 | 5.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 49.6 | 2.48 | 10.54 | 10.54 | US05 |  | 140 | 7 | 19.6 |  | 0 | 0
5 | 7 | IsolationRoom |  | KL7.140 |  | 26.8 | 2.5 | 2 | IU11-v+OTL3-v | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 222 | 5.7949 |  | 222 | 90 | 4.5 | 19.125 | 13.3301 | US05 |  | 329 | 16.45 | 46.06 |  | 0 | 0
6 | 7 | Washing |  | KL7.139 | KL7.140 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 210 | 10.5 | 29.4 |  | 0 | 0
7 | 7 | AirLock |  | KL7.141 | KL7.140 | 5.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 179.82 | 8.991 | 25.1748 |  | 0 | 0
8 | 7 | IsolationRoom |  | KL7.143 |  | 27.3 | 2.5 | 2 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.7949 |  | 312 | 113.65 | 5.6825 | 24.1506 | 18.3557 | US04 |  | 217.35 | 10.8675 | 30.429 |  | 0 | 0
9 | 7 |  |  | KL7.143 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 222 | 92.5 | 4.625 | 19.6562 | 19.6562 | US05 |  | 0 | 0 | 0 |  | 0 | 0
10 | 7 | Washing |  | KL7.144 | KL7.143 | 5.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 312 | 59.09 | 2.9545 | 12.5566 | 12.5566 | US04 |  | 138.55 | 6.9275 | 19.397 |  | 0 | 0
11 | 7 | AirLock |  | KL7.142 | KL7.143 | 5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 179.82 | 8.991 | 25.1748 |  | 0 | 0
12 | 7 | IsolationRoom |  | KL7.127 |  | 23.6 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.7531 |  | 312 | 29.17 | 1.4585 | 6.1986 | 0.44548 |  |  | 346.33 | 17.3165 | 48.4862 |  | 0 | 0
13 | 7 |  |  | KL7.127 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 90.5 | 4.525 | 19.2313 | 19.2313 | US04 |  | 0 | 0 | 0 |  | 0 | 0
14 | 7 | Cleaning and service |  | KL7.129 | KL7.127 | 2.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 174 | 8.7 | 24.36 |  | 0 | 0
15 | 7 | AirLock |  | KL7.126 | KL7.127 | 4.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 180.96 | 9.048 | 25.3344 |  | 0 | 0
16 | 7 | IsolationRoom |  | KL7.131 |  | 19.3 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7531 |  | 42 | 90.5 | 4.525 | 19.2313 | 13.4781 | US04 |  | 262.14 | 13.107 | 36.6996 |  | 0 | 0
17 | 7 | AirLock |  | KL7.130 | KL7.131 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 182.56 | 9.128 | 25.5584 |  | 0 | 0
18 | 7 | Washing |  | KL7.132 | KL7.131 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 192.02 | 9.601 | 26.8828 |  | 0 | 0
19 | 7 | IsolationRoom |  | KL7.134 |  | 19.3 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7531 |  | 42 | 90.5 | 4.525 | 19.2313 | 13.4781 | US04 |  | 186.36 | 9.318 | 26.0904 |  | 0 | 0
20 | 7 |  |  | KL7.134 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 93 | 4.65 | 19.7625 | 19.7625 | US04 |  | 0 | 0 | 0 |  | 0 | 0
21 | 7 | AirLock |  | KL7.133 | KL7.134 | 5.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 140 | 7 | 19.6 |  | 0 | 0
22 | 7 | Washing |  | KL7.135 | KL7.134 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 60.82 | 3.041 | 12.9242 | 12.9242 | US05 |  | 141.54 | 7.077 | 19.8156 |  | 0 | 0
23 | 7 | Aisle |  | KL7.106 |  | 69.9 | 2.5 | 1 | NO ID FOUND | 2.3705 | 2.5 | 5.9262 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 5.9262 |  | N/A | 47.41 | 2.3705 | 10.0746 | 4.1484 | US04 |  | 1252.92 | 62.646 | 175.4088 |  | 0 | 0
24 | 7 | Technical room |  | KL7.125 |  | 6.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 205.28 | 10.264 | 28.7392 |  | 0 | 0
25 | 7 | Washing |  | KL7.128 |  | 5.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 43.46 | 2.173 | 9.2353 | 9.2353 | US04 |  | 153.28 | 7.664 | 21.4592 |  | 0 | 0
26 | 7 | Technical room |  | KL7.124 |  | 10.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 265.95 | 13.2975 | 37.233 |  | 0 | 0
27 | 7 | Washing |  | KL7.123 |  | 5.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 41.77 | 2.0885 | 8.8761 | 8.8761 | US05 |  | 145.77 | 7.2885 | 20.4078 |  | 0 | 0
28 | 7 | IsolationRoom |  | KL7.122 |  | 22.8 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU20-o | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.5444 |  | 42 | 94 | 4.7 | 19.975 | 14.4306 | US04 |  | 323 | 16.15 | 45.22 |  | 0 | 0
29 | 7 | WC |  | KL7.120 | KL7.122 | 3.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 160 | 8 | 22.4 |  | 0 | 0
30 | 7 | AirLock |  | KL7.121 | KL7.122 | 3.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 164.1 | 8.205 | 22.974 |  | 0 | 0
31 | 7 | IsolationRoom |  | KL7.118 |  | 19.4 | 2.5 | 3 | IUA10,5-o | 1.05 | 1.67 | 1.7535 | IUA13,5-v | 1.345 | 1.67 | 2.2461 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 3.9996 |  | 42 | 87.45 | 4.3725 | 18.5831 | 14.5835 | US04 |  | 264.79 | 13.2395 | 37.0706 |  | 0 | 0
32 | 7 | AirLock |  | KL7.117 | KL7.118 | 5.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 188.2 | 9.41 | 26.348 |  | 0 | 0
33 | 7 | Washing |  | KL7.119 | KL7.118 | 5.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 195.72 | 9.786 | 27.4008 |  | 0 | 0
34 | 7 | Aisle |  | KL7.107 |  | 31.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 460.53 | 23.0265 | 64.4742 |  | 0 | 0
35 | 7 | WC |  | KL7.145 |  | 2.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 21 | 1.05 | 4.4625 | 4.4625 | US04 |  | 120.5 | 6.025 | 16.87 |  | 0 | 0
36 | 7 | Storage |  | KL7.146 |  | 5.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 48.24 | 2.412 | 10.251 | 10.251 | US04 |  | 150.38 | 7.519 | 21.0532 |  | 0 | 0
37 | 7 | Stairway |  | KL7.147 |  | 5.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 40.5 | 2.025 | 8.6062 | 8.6062 | US04 |  | 142.35 | 7.1175 | 19.929 |  | 0 | 0
38 | 7 | Lounge |  | KL7.148 |  | 14.2 | 2.5 | 1 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.5404 |  | 180 | 54.7 | 2.735 | 11.6237 | 8.0833 | US04 |  | 110.35 | 5.5175 | 15.449 |  | 0 | 0
39 | 7 |  |  | KL7.148 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 62.87 | 3.1435 | 13.3599 | 13.3599 | US04 |  | 110.35 | 5.5175 | 15.449 |  | 0 | 0
40 | 7 |  |  | KL7.148 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 270 | 74.42 | 3.721 | 15.8143 | 15.8143 | US04 |  | 110.35 | 5.5175 | 15.449 |  | 0 | 0
41 | 7 | IsolationRoom |  | KL7.150 |  | 19.9 | 2.5 | 2 | IU11-v+OTL3-v | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7949 |  | 180 | 93.3 | 4.665 | 19.8263 | 14.0314 | US04 |  | 182.6 | 9.13 | 25.564 |  | 0 | 0
42 | 7 |  |  | KL7.150 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 90 | 82.27 | 4.1135 | 17.4824 | 17.4824 | US04 |  | 182.6 | 9.13 | 25.564 |  | 0 | 0
43 | 7 | AirLock |  | KL7.149 | KL7.150 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 170.6 | 8.53 | 23.884 |  | 0 | 0
44 | 7 | Washing |  | KL7.151 | KL7.150 | 6.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 90 | 51.63 | 2.5815 | 10.9714 | 10.9714 | US04 |  | 176.07 | 8.8035 | 24.6498 |  | 0 | 0
45 | 7 | IsolationRoom |  | KL7.153 |  | 19.3 | 2.5 | 2 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7949 |  | 180 | 92.25 | 4.6125 | 19.6031 | 13.8082 | US04 |  | 284 | 14.2 | 39.76 |  | 0 | 0
46 | 7 | Washing |  | KL7.152 | KL7.153 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 170.6 | 8.53 | 23.884 |  | 0 | 0
47 | 7 | AirLock |  | KL7.154 | KL7.153 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 163.6 | 8.18 | 22.904 |  | 0 | 0
48 | 7 | IsolationRoom |  | KL7.156 |  | 19.3 | 2.5 | 2 | IU11-v+OTL3-v | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7949 |  | 180 | 92.25 | 4.6125 | 19.6031 | 13.8082 | US04 |  | 284 | 14.2 | 39.76 |  | 0 | 0
49 | 7 | AirLock |  | KL7.155 | KL7.156 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 176.3 | 8.815 | 24.682 |  | 0 | 0
50 | 7 | Washing |  | KL7.157 | KL7.156 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 170.6 | 8.53 | 23.884 |  | 0 | 0
51 | 7 | IsolationRoom |  | KL7.159 |  | 19.3 | 2.5 | 2 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7949 |  | 180 | 92.25 | 4.6125 | 19.6031 | 13.8082 | US04 |  | 284 | 14.2 | 39.76 |  | 0 | 0
52 | 7 | Washing |  | KL7.158 | KL7.159 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 170.6 | 8.53 | 23.884 |  | 0 | 0
53 | 7 | AirLock |  | KL7.166 | KL7.159 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 163.6 | 8.18 | 22.904 |  | 0 | 0
54 | 7 | IsolationRoom |  | KL7.162 |  | 19.4 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU20-v | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.5444 |  | 180 | 92.25 | 4.6125 | 19.6031 | 14.0587 | US04 |  | 284 | 14.2 | 39.76 |  | 0 | 0
55 | 7 | Washing |  | KL7.161 | KL7.162 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 170.6 | 8.53 | 23.884 |  | 0 | 0
56 | 7 | AirLock |  | KL7.163 | KL7.162 | 4.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 184.4 | 9.22 | 25.816 |  | 0 | 0
57 | 7 | Office |  | KL7.164 |  | 27.7 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7531 |  | 180 | 95 | 4.75 | 20.1875 | 14.4344 | US04 |  | 351.53 | 17.5765 | 49.2142 |  | 0 | 0
58 | 7 |  |  | KL7.164 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 270 | 89.09 | 4.4545 | 18.9316 | 18.9316 | US04 |  | 0 | 0 | 0 |  | 0 | 0
59 | 7 | Aisle |  | KL7.105 |  | 57.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 1050.43 | 52.5215 | 147.0602 |  | 0 | 0
60 | 7 | TreatmentRoom |  | KL7.108 |  | 34.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 476 | 23.8 | 66.64 |  | 0 | 0
61 | 7 |  |  | KL7.108 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 312 | 31.72 | 1.586 | 6.7405 | 6.7405 | US04 |  | 0 | 0 | 0 |  | 0 | 0
62 | 7 | Office |  | KL7.110 |  | 14.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 321.63 | 16.0815 | 45.0282 |  | 0 | 0
63 | 7 | Office |  | KL7.111 |  | 14.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 322.91 | 16.1455 | 45.2074 |  | 0 | 0
64 | 7 | StorageChemical |  | KL7.112 |  | 23.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 424.75 | 21.2375 | 59.465 |  | 0 | 0
65 | 7 | StorageChemical |  | KL7.113 | KL7.112 | 5.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 186.57 | 9.3285 | 26.1198 |  | 0 | 0
66 | 7 | EquipmentServiceAndRinse |  | KL7.114 |  | 9.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 249.82 | 12.491 | 34.9748 |  | 0 | 0
67 | 7 | EquipmentServiceAndRinse |  | KL7.115 |  | 9.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 289.94 | 14.497 | 40.5916 |  | 0 | 0
68 | 7 | Office |  | KL7.116 |  | 18.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 390.02 | 19.501 | 54.6028 |  | 0 | 0
69 | 7 | WC |  | KL7.109 | KL7.108 | 1.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 32.89 | 1.6445 | 6.9891 | 6.9891 | US04 |  | 73.45 | 3.6725 | 10.283 |  | 0 | 0
70 | 7 |  |  | KL7.109 | KL7.108 | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 312 | 26.5 | 1.325 | 5.6312 | 5.6312 | US04 |  | 0 | 0 | 0 |  | 0 | 0
71 | 7 | Aisle |  | KL7.104 |  | 17.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 358.71 | 17.9355 | 50.2194 |  | 0 | 0
72 | 7 | Washing |  | KL7.160 | KL7.159 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 196.24 | 9.812 | 27.4736 |  | 0 | 0
Note on G1: Raetz, Martin: Only numbers allowed!
Note on AH1: Schwenzer, Christian: noch zu prüfen
Note on AH24: Rahme, Lichaa-Antoine: ist completely a window
Note on AH32: Rahme, Lichaa-Antoine: not 100% sure

## Zones_TK03
Zone 1 | Zone 2 | Zone 3
Zone 4 | Zone 5 | Zone 6

## TK21_7
Index | Floor | UsageType | addition | RoomIdentifier | BelongsToIdentifier | NetArea[m²] | HeatedRoomHeight[m] | Window Count | Window 1 ID | Window 1[m] | Window 1[m] | Window1Area[m²] | Window 2 ID | Window 2[m] | Window 2[m] | Window2Area[m²] | Window 3 ID | Window 3[m] | Window 3[m] | Window3Area[m²] | Window 4 ID | Window 4[m] | Window 4[m] | Window4Area[m²] | WindowOrientation[°] | WindowArea[m²] | WindowConstruction | OuterWallOrientation[°] | Outer Wall length [drawing mm] | Outer Wall length [m] | OuterWallAreaInclWindow | OuterWallArea[m²] | OuterWallConstruction | WallAdjacentTo | Inner walls length[drawing mm] | Inner walls length[m] | InnerWallArea[m²] | InnerWallConstruction | IsGroundFloor | IsRooftop | FloorConstruction | CeilingConstruction | Window Ventilation (1/0) | Ventilated (1/0) | Mixing Ventilation (1/0) | Fan Number | Supply Flow [m³/h] | Supply Temp [°C] | Exhaust Flow [m³/h] | Exhaust Temp [°C] | Target Temperature [°C] | Heating times | Occupancy schedule | Occupancy Intensity | etc.
1 | 7 | Stairway |  | KL7.P1 |  | 23.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 418.72 | 20.936 | 58.6208 |  | 0 | 0
2 | 7 | Stairway |  | KL7.P2 |  | 22.6 | 2.5 | 1 | IU13-o SP | 1.3 | 0.49 | 0.637 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 0.637 |  | 42 | 60.03 | 3.0015 | 12.7564 | 12.1194 | US04 |  | 403.77 | 20.1885 | 56.5278 |  | 0 | 0
3 | 7 | Stairway |  | KL7.P3 |  | 20 | 2.5 | 1 | IU13-o | 1.3 | 0.49 | 0.637 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 0.637 |  | 42 | 56.22 | 2.811 | 11.9467 | 11.3097 | US04 |  | 340.2 | 17.01 | 47.628 |  | 0 | 0
Note on G1: Raetz, Martin: Only numbers allowed!
Note on AH1: Schwenzer, Christian: noch zu prüfen

## U-Wert
US04 | Material | Thickness | Lambda | R | Uwert | Sum of Uwert
1 | Alufolie beschichtete | 0.004 | 160 | 2.5e-05 | 0.21577 | 0.21577
2 | Z purlins | 0.034 | 5 | 0.0068
3 | Ventilation space | 0.025 | 5 | 0.005
4 | Wind shield plate | 0.008 | 5 | 0.0016
5 | Thermalinsulation | 0.175 | 0.04 | 4.375
6 | Concrete | 0.16 | 2.1 | 0.07619 |  |  | 0.21577
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!