## GeneralNotes
2019-10-11 | CSC: In this file none of the adjacent zones are considered in the Calculation of outside/inside walls. All walls adjacent to Zones including the courtyard are considered to be interior walls.

## Konstanten
Deckenhöhe [m]
Fenster | 1.35
Zimmer | 2.5
Etagenhöhe | 4.25

## Windows
Floor 6
ROOM NUMBER | WINDOW ID | SIZE |  | KD2 | AMOUNT | TOTAL NUMBER WINDOWS
KL6.007 | IU11-v | 1100 | 1320 |  | 1 | 82
KL6.007 | IU18-v | 1795 | 1320 |  | 1
KL6.007 | IU8-o | 800 | 1320 |  | 1
KL6.008 | IU16-o | 1615 | 1320 |  | 1
KL6.008 | IU8-v | 800 | 1320 |  | 1
KL6.009 | IU16-v | 1615 | 1320 |  | 1
KL6.009 | IU8-o | 800 | 1320 |  | 1
KL6.010 | IU17,5-o | 1740 | 1320 |  | 1
KL6.010 | IU8-v | 800 | 1320 |  | 1
KL6.012 | IU17,5-v | 1740 | 1320 |  | 1
KL6.012 | IU8-o | 800 | 1320 |  | 1
KL6.013 | IU18,5-o | 1855 | 1320 |  | 1
KL6.013 | IU7-v | 675 | 1320 |  | 1
KL6.015 | IUA21-o | 2120 | 1670 |  | 1
KL6.015 | IUA6-v | 570 | 1670 |  | 1
KL6.018 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.018 | IU21-v | 2120 | 1670 |  | 1
KL6.020 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.020 | IU21-o | 2120 | 1670 |  | 1
KL6.022 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.022 | IU21-v | 2120 | 1670 |  | 1
KL6.024 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.024 | IU20-v | 1995 | 1670 |  | 1
KL6.026 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.026 | IU20-o | 1995 | 1670 |  | 1
KL6.029 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.029 | IU20-v | 1995 | 1670 |  | 1
KL6.032 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.032 | IU20-o | 1995 | 1670 |  | 1
KL6.035 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.035 | IU20-v | 1995 | 1670 |  | 1
KL6.038 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.038 | IU20-o | 1995 | 1670 |  | 1
KL6.055 | IUA24-v | 2410 | 1670 |  | 1
KL6.055 | IUA9,5-o | 940 | 1670 |  | 1
KL6.057 | IUA18,5-o | 1840 | 1670 |  | 1
KL6.057 | IUA6-o | 610 | 1670 |  | 2
KL6.058 | IU18-o+VTL3-o | 2075 | 1670 |  | 1
KL6.058 | IU21-v | 2120 | 1670 |  | 1
KL6.062 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.062 | IU21-o | 2120 | 1670 |  | 1
KL6.064 | IU11-v+OTL-v | 1350 | 1670 |  | 1
KL6.064 | IU21-o | 2120 | 1670 |  | 1
KL6.066 | IU20-o | 1995 | 1670 |  | 1
KL6.066 | IU9,5-v+VTL3-o | 1200 | 1670 |  | 1
KL6.068 | IU11,5-v+TL3-v | 1155 | 1670 |  | 1
KL6.068 | IU21-o | 2120 | 1670 |  | 1
KL6.104 | IUA10,5-o | 1050 | 1670 |  | 1
KL6.104 | IUA13,5-v | 1345 | 1670 |  | 1
KL6.104 | IUA14,5-o | 1440 | 1670 |  | 1
KL6.106 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.106 | IU20-o | 1995 | 1670 |  | 1
KL6.110 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.110 | IU21-v | 2120 | 1670 |  | 1
KL6.112 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.112 | IU21-o | 2120 | 1670 |  | 1
KL6.114 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.114 | IU21-v | 2120 | 1670 |  | 1
KL6.116 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.116 | IU14,5-o | 1445 | 540 |  | 1
KL6.116 | IU14,5-v | 1445 | 540 |  | 1
KL6.116 | IU19,5-v | 1970 | 1670 |  | 1
KL6.118 | IU11-v+OTL3-v | 1350 | 1670 |  | 1
KL6.118 | IU21-o | 2120 | 1670 |  | 1
KL6.120 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.120 | IU21-v | 2120 | 1670 |  | 1
KL6.124 | IU21-v | 2120 | 1670 |  | 1
KL6.126 | IU11-v+OTL3-v | 1350 | 1670 |  | 1
KL6.126 | IU21-o | 2120 | 1670 |  | 1
KL6.129 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.129 | IU21-v | 2120 | 1670 |  | 1
KL6.132 | IU11-v+OTL3-v | 1350 | 1670 |  | 1
KL6.132 | IU21-o | 2120 | 1670 |  | 1
KL6.135 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.135 | IU21-v | 2120 | 1670 |  | 1
KL6.137 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.137 | IU20-v | 1995 | 1670 |  | 1
KL6.139 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.139 | IU21-o | 2120 | 1670 |  | 1
KL6.P2 | IU13-o | 1300 | 490 | EI 30 | 1
KL6.P3 | IU13-o | 1300 | 490 |  | 1

## TK01_6
Index | Floor | UsageType | addition | RoomIdentifier | BelongsToIdentifier | NetArea[m²] | HeatedRoomHeight[m] | Window Count | Window 1 ID | Window 1[m] | Window 1[m] | Window1Area[m²] | Window 2 ID | Window 2[m] | Window 2[m] | Window2Area[m²] | Window 3 ID | Window 3[m] | Window 3[m] | Window3Area[m²] | Window 4 ID | Window 4[m] | Window 4[m] | Window4Area[m²] | WindowOrientation[°] | WindowArea[m²] | WindowConstruction | OuterWallOrientation[°] | Outer Wall length [drawing mm] | Outer Wall length [m] | OuterWallAreaInclWindow | OuterWallArea[m²] | OuterWallConstruction | WallAdjacentTo | Inner walls length[drawing mm] | Inner walls length[m] | InnerWallArea[m²] | InnerWallConstruction | IsGroundFloor | IsRooftop | FloorConstruction | CeilingConstruction | Window Ventilation (1/0) | Ventilated (1/0) | Mixing Ventilation (1/0) | Fan Number | Supply Flow [m³/h] | Supply Temp [°C] | Exhaust Flow [m³/h] | Exhaust Temp [°C] | Target Temperature [°C] | Heating times | Occupancy schedule | Occupancy Intensity | etc.
1 | 6 | Office |  | KL6.013 |  | 24 | 2.5 | 2 | IU18,5-o | 1.855 | 1.32 | 2.4486 | IU7-v | 0.675 | 1.32 | 0.891 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.3396 |  | 180 | 100.27 | 5.0135 | 21.3074 | 17.9678 | US04 |  | 200.21 | 10.0105 | 25.0263 |  | 0 | 0
2 | 6 |  |  | KL6.013 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 |  | #N/A | #N/A | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 270 | 115.65 | 5.7825 | 24.5756 | 24.5756 | US04 |  |  | 0 | 0 |  | 0 | 0
3 | 6 | Office |  | KL6.012 |  | 9.9 | 2.5 | 2 | IU17,5-v | 1.74 | 1.32 | 2.2968 | IU8-o | 0.8 | 1.32 | 1.056 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.3528 |  | 180 | 55.01 | 2.7505 | 11.6896 | 8.3368 | US04 |  | 201.08 | 10.054 | 25.135 |  | 0 | 0
4 | 6 | Office |  | KL6.010 |  | 14 | 2.5 | 2 | IU17,5-o | 1.74 | 1.32 | 2.2968 | IU8-v | 0.8 | 1.32 | 1.056 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.3528 |  | 180 | 55.97 | 2.7985 | 11.8936 | 8.5408 | US04 |  | 266.79 | 13.3395 | 33.3487 |  | 0 | 0
5 | 6 | Aisle |  | KL6.011 |  | 3.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 162.26 | 8.113 | 20.2825 |  | 0 | 0
6 | 6 | Office |  | KL6.009 |  | 13.9 | 2.5 | 2 | IU16-v | 1.615 | 1.32 | 2.1318 | IU8-o | 0.8 | 1.32 | 1.056 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.1878 |  | 180 | 53.42 | 2.671 | 11.3517 | 8.1639 | US04 |  | 263.8 | 13.19 | 32.975 |  | 0 | 0
7 | 6 | Office |  | KL6.008 |  | 13.9 | 2.5 | 2 | IU16-o | 1.615 | 1.32 | 2.1318 | IU8-v | 0.8 | 1.32 | 1.056 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.1878 |  | 180 | 53.42 | 2.671 | 11.3517 | 8.1639 | US04 |  | 263.8 | 13.19 | 32.975 |  | 0 | 0
8 | 6 | Office |  | KL6.007 |  | 23 | 2.5 | 3 | IU11-v | 1.1 | 1.32 | 1.452 | IU18-v | 1.795 | 1.32 | 2.3694 | IU8-o | 0.8 | 1.32 | 1.056 | 0 | #N/A | #N/A | 0 | 180 | 4.8774 |  | 180 | 90.92 | 4.546 | 19.3205 | 14.4431 | US04 |  | 298.59 | 14.9295 | 37.3238 |  | 0 | 0
9 | 6 | EquipmentServiceAndRinse |  | KL6.014 |  | 8.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 238.91 | 11.9455 | 29.8638 |  | 0 | 0
10 | 6 | PatientRoom |  | KL6.015 |  | 30.8 | 2.5 | 2 | IUA21-o | 2.12 | 1.67 | 3.5404 | IUA6-v | 0.57 | 1.67 | 0.9519 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 4.4923 |  | 312 | 87.12 | 4.356 | 18.513 | 14.0207 | US04 |  | 364.76 | 18.238 | 45.595 |  | 0 | 0
11 | 6 | TechnicalRoom |  | KL6.045 |  | 9.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 40.22 | 2.011 | 8.5468 | 8.5468 | US04 |  | 241.31 | 12.0655 | 30.1638 |  | 0 | 0
12 | 6 | TechnicalRoom |  | KL6.046 |  | 9.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 40.22 | 2.011 | 8.5468 | 8.5468 | US04 |  | 241.31 | 12.0655 | 30.1638 |  | 0 | 0
13 | 6 | Washing |  | KL6.016 | KL6.015 | 6.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 312 | 54.46 | 2.723 | 11.5727 | 11.5727 | US04 |  | 155.78 | 7.789 | 19.4725 |  | 0 | 0
14 | 6 | PatientRoom |  | KL6.018 |  | 31.1 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.7531 |  | 312 | 87.55 | 4.3775 | 18.6044 | 12.8512 | US04 |  | 373.03 | 18.6515 | 46.6287 |  | 0 | 0
15 | 6 | Washing |  | KL6.019 | KL6.018 | 6.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 207.62 | 10.381 | 25.9525 |  | 0 | 0
16 | 6 | Storage |  | KL6.017 |  | 4.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 172.06 | 8.603 | 21.5075 |  | 0 | 0
17 | 6 | Aisle |  | KL6.003 |  | 29.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 421.17 | 21.0585 | 52.6463 |  | 0 | 0
18 | 6 | WC |  | KL6.004 |  | 9.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 236.58 | 11.829 | 29.5725 |  | 0 | 0
19 | 6 | WC |  | KL6.005 |  | 11.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 270.2 | 13.51 | 33.775 |  | 0 | 0
20 | 6 | WC |  | KL6.006 | KL6.005 | 2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 123.04 | 6.152 | 15.38 |  | 0 | 0
21 | 6 | PatientRoom |  | KL6.020 |  | 30.9 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.7531 |  | 312 | 87.53 | 4.3765 | 18.6001 | 12.847 | US04 |  | 372.96 | 18.648 | 46.62 |  | 0 | 0
22 | 6 | Washing |  | KL6.021 | KL6.020 | 6.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 207.76 | 10.388 | 25.97 |  | 0 | 0
23 | 6 | PatientRoom |  | KL6.022 |  | 31.1 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.7531 |  | 312 | 87.04 | 4.352 | 18.496 | 12.7429 | US04 |  | 373.03 | 18.6515 | 46.6287 |  | 0 | 0
24 | 6 | Washing |  | KL6.023 | KL6.022 | 6.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 207.62 | 10.381 | 25.9525 |  | 0 | 0
25 | 6 | PatientRoom |  | KL6.024 |  | 24.4 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU20-v | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 90 | 4.5 | 19.125 | 13.5806 | US04 |  | 365.02 | 18.251 | 45.6275 |  | 0 | 0
26 | 6 | Washing |  | KL6.025 | KL6.024 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 205.64 | 10.282 | 25.705 |  | 0 | 0
27 | 6 | PatientRoom |  | KL6.026 |  | 24.4 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU20-o | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 90 | 4.5 | 19.125 | 13.5806 | US04 |  | 365.02 | 18.251 | 45.6275 |  | 0 | 0
28 | 6 | Washing |  | KL6.027 | KL6.026 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 205.64 | 10.282 | 25.705 |  | 0 | 0
29 | 6 | IsolationRoom |  | KL6.029 |  | 19.3 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU20-v | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 87.19 | 4.3595 | 18.5279 | 12.9835 | US04 |  | 265.68 | 13.284 | 33.21 |  | 0 | 0
30 | 6 | AirLock |  | KL6.028 | KL6.029 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 179.32 | 8.966 | 22.415 |  | 0 | 0
31 | 6 | Washing |  | KL6.030 | KL6.029 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 205.64 | 10.282 | 25.705 |  | 0 | 0
32 | 6 | IsolationRoom |  | KL6.032 |  | 19.3 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU20-o | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 87.19 | 4.3595 | 18.5279 | 12.9835 | US04 |  | 265.68 | 13.284 | 33.21 |  | 0 | 0
33 | 6 | AirLock |  | KL6.031 | KL6.032 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 179.32 | 8.966 | 22.415 |  | 0 | 0
34 | 6 | Washing |  | KL6.031 | KL6.032 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 205.64 | 10.282 | 25.705 |  | 0 | 0
35 | 6 | IsolationRoom |  | KL6.035 |  | 19.3 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.7531 |  | 312 | 87.19 | 4.3595 | 18.5279 | 12.7747 | US04 |  | 265.68 | 13.284 | 33.21 |  | 0 | 0
36 | 6 | AirLock |  | KL6.034 | KL6.035 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 179.32 | 8.966 | 22.415 |  | 0 | 0
37 | 6 | Washing |  | KL6.036 | KL6.035 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 205.64 | 10.282 | 25.705 |  | 0 | 0
38 | 6 | IsolationRoom |  | KL6.038 |  | 19.3 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU20-o | 1.995 | 1.67 | 3.3317 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5444 |  | 312 | 87.19 | 4.3595 | 18.5279 | 12.9835 | US04 |  | 265.68 | 13.284 | 33.21 |  | 0 | 0
39 | 6 | AirLock |  | KL6.037 | KL6.038 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 179.32 | 8.966 | 22.415 |  | 0 | 0
40 | 6 | Washing |  | KL6.039 | KL6.038 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 205.64 | 10.282 | 25.705 |  | 0 | 0
41 | 6 | Aisle |  | KL6.002 |  | 122 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 2045.85 | 102.2925 | 255.7313 |  | 0 | 0
42 | 6 | Aisle |  | KL6.001 |  | 63.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 770.88 | 38.544 | 96.36 |  | 0 | 0
43 | 6 | Office |  | KL6.049 |  | 7.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 232.99 | 11.6495 | 29.1238 |  | 0 | 0
44 | 6 | Office |  | KL6.041 |  | 15.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 326.81 | 16.3405 | 40.8513 |  | 0 | 0
45 | 6 | WC |  | KL6.042 |  | 32.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 460.93 | 23.0465 | 57.6162 |  | 0 | 0
46 | 6 | WC |  | KL6.043 | KL6.042 | 7.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 224.7 | 11.235 | 28.0875 |  | 0 | 0
47 | 6 | WC |  | KL6.044 |  | 14.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 381.99 | 19.0995 | 47.7488 |  | 0 | 0
Note on G1: Raetz, Martin: Only numbers allowed!
Note on AH1: Schwenzer, Christian: noch zu prüfen

## Zones_TK01
| Zone 14 |  | Zone 15 |  | Zone 16
Aus Etage 7
|  | Zone 17 |  | Zone 18 |  | Zone 19

## TK02_6
Index | Floor | UsageType | addition | RoomIdentifier | BelongsToIdentifier | NetArea[m²] | HeatedRoomHeight[m] | Window Count | Window 1 ID | Window 1[m] | Window 1[m] | Window1Area[m²] | Window 2 ID | Window 2[m] | Window 2[m] | Window2Area[m²] | Window 3 ID | Window 3[m] | Window 3[m] | Window3Area[m²] | Window 4 ID | Window 4[m] | Window 4[m] | Window4Area[m²] | WindowOrientation[°] | WindowArea[m²] | WindowConstruction | OuterWallOrientation[°] | Outer Wall length [drawing mm] | Outer Wall length [m] | OuterWallAreaInclWindow | OuterWallArea[m²] | OuterWallConstruction | WallAdjacentTo | Inner walls length[drawing mm] | Inner walls length[m] | InnerWallArea[m²] | InnerWallConstruction | IsGroundFloor | IsRooftop | FloorConstruction | CeilingConstruction | Window Ventilation (1/0) | Ventilated (1/0) | Mixing Ventilation (1/0) | Fan Number | Supply Flow [m³/h] | Supply Temp [°C] | Exhaust Flow [m³/h] | Exhaust Temp [°C] | Target Temperature [°C] | Heating times | Occupancy schedule | Occupancy Intensity | etc.
1 | 6 | Office |  | KL6.040 |  | 14.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 341.9 | 17.095 | 42.7375 |  | 0 | 0
2 | 6 | Aisle |  | KL6.050 |  | 46.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 850.42 | 42.521 | 106.3025 |  | 0 | 0
3 | 6 | Aisle |  | KL6.051 |  | 50.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 935.66 | 46.783 | 116.9575 |  | 0 | 0
4 | 6 | Aisle |  | KL6.052 |  | 27.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 474.64 | 23.732 | 59.33 |  | 0 | 0
5 | 6 | Aisle |  | KL6.053 |  | 13.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 305.96 | 15.298 | 38.245 |  | 0 | 0
6 | 6 | Lounge |  | KL6.054 |  | 23 | 2.5 | 3 | NO ID FOUND | 2.5145 | 1.67 | 4.1992 | NO ID FOUND | 0.7875 | 1.67 | 1.3151 | NO ID FOUND | 1.5025 | 1.67 | 2.5092 | 0 | #N/A | #N/A | 0 | 312 | 8.0235 |  | 312 | 101.29 | 5.0645 | 21.5241 | 13.5006 | US04 |  | 285.27 | 14.2635 | 35.6587 |  | 0 | 0
7 | 6 | Office |  | KL6.055 |  | 24.9 | 2.5 | 2 | IUA24-v | 2.41 | 1.67 | 4.0247 | IUA9,5-o | 0.94 | 1.67 | 1.5698 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 5.5945 |  | 312 | 72.8 | 3.64 | 15.47 | 9.8755 | US04 |  | 350.4 | 17.52 | 43.8 |  | 0 | 0
8 | 6 | Aisle |  | KL6.056 | KL6.055 | 5.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 204.09 | 10.2045 | 25.5113 |  | 0 | 0
9 | 6 | Office |  | KL6.057 |  | 14.1 | 2.5 | 2 | IUA18,5-o | 1.84 | 1.67 | 3.0728 | IUA6-o | 0.61 | 1.67 | 1.0187 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 4.0915 |  | 312 | 70.7 | 3.535 | 15.0237 | 10.9322 | US04 |  | 226.74 | 11.337 | 28.3425 |  | 0 | 0
10 | 6 | PatientRoom |  | KL6.058 |  | 31.1 | 2.5 | 2 | IU18-o+VTL3-o | 2.075 | 1.67 | 3.4653 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 312 | 7.0057 |  | 312 | 92.84 | 4.642 | 19.7285 | 12.7229 | US04 |  | 378.41 | 18.9205 | 47.3013 |  | 0 | 0
11 | 6 | Washing |  | KL6.059 | KL6.058 | 5.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 193.88 | 9.694 | 24.235 |  | 0 | 0
12 | 6 | TechnicalRoom |  | KL6.060 |  | 8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 31.5 | 1.575 | 6.6937 | 6.6937 | US04 |  | 240.3 | 12.015 | 30.0375 |  | 0 | 0
13 | 6 | TechnicalRoom |  | KL6.061 |  | 8.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 258.74 | 12.937 | 32.3425 |  | 0 | 0
14 | 6 | PatientRoom |  | KL6.062 |  | 33.5 | 2.5 | 2 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7949 |  | 42 | 92.03 | 4.6015 | 19.5564 | 13.7615 | US04 |  | 432.06 | 21.603 | 54.0075 |  | 0 | 0
15 | 6 | Washing |  | KL6.063 | KL6.062 | 5.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 200.04 | 10.002 | 25.005 |  | 0 | 0
16 | 6 | PatientRoom |  | KL6.064 |  | 32.2 | 2.5 | 2 | IU11-v+OTL-v | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7949 |  | 42 | 88.98 | 4.449 | 18.9082 | 13.1133 | US04 |  | 428.95 | 21.4475 | 53.6188 |  | 0 | 0
17 | 6 | Washing |  | KL6.065 | KL6.064 | 5.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 200.04 | 10.002 | 25.005 |  | 0 | 0
18 | 6 | PatientRoom |  | KL6.066 |  | 31.9 | 2.5 | 2 | IU20-o | 1.995 | 1.67 | 3.3317 | IU9,5-v+VTL3-o | 1.2 | 1.67 | 2.004 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.3357 |  | 42 | 88.99 | 4.4495 | 18.9104 | 13.5747 | US04 |  | 428.65 | 21.4325 | 53.5813 |  | 0 | 0
19 | 6 | Washing |  | KL6.067 | KL6.066 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 195.33 | 9.7665 | 24.4163 |  | 0 | 0
20 | 6 | PatientRoom |  | KL6.068 |  | 35.5 | 2.5 | 2 | IU11,5-v+TL3-v | 1.155 | 1.67 | 1.9288 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.4692 |  | 42 | 96.51 | 4.8255 | 20.5084 | 15.0391 | US04 |  | 272.62 | 13.631 | 34.0775 |  | 0 | 0
21 | 6 |  |  | KL6.068 |  | 0 | 2.5 | 0 |  | #N/A | #N/A | 0 |  | #N/A | #N/A | 0 |  | #N/A | #N/A | 0 |  | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 175.31 | 8.7655 | 37.2534 | 37.2534 | US04 |  |  | 0 | 0 |  | 0 | 0
22 | 6 | Washing |  | KL6.069 |  | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 195.33 | 9.7665 | 24.4163 |  | 0 | 0
23 | 6 | EquipmentServiceAndRinse |  | KL6.070 |  | 8.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 264.6 | 13.23 | 33.075 |  | 0 | 0
24 | 6 | Washing |  | KL6.071 |  | 10.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 270.94 | 13.547 | 33.8675 |  | 0 | 0
25 | 6 | Storage |  | KL6.072 |  | 7.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 224.64 | 11.232 | 28.08 |  | 0 | 0
26 | 6 | Storage |  | KL6.073 |  | 6.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 219.92 | 10.996 | 27.49 |  | 0 | 0
27 | 6 | TreatmentRoom |  | KL6.074 |  | 16.1 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 323.9 | 16.195 | 40.4875 |  | 0 | 0
28 | 6 | Lounge |  | KL6.075 |  | 12 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 277.66 | 13.883 | 34.7075 |  | 0 | 0
29 | 6 | WC |  | KL6.076 |  | 3.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 147.5 | 7.375 | 18.4375 |  | 0 | 0
30 | 6 | Laboratory |  | KL6.077 |  | 19.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 356.78 | 17.839 | 44.5975 |  | 0 | 0
31 | 6 | Laboratory |  | KL6.078 | KL6.077 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 173.58 | 8.679 | 21.6975 |  | 0 | 0
32 | 6 | Aisle |  | KL6.079 |  | 41.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 800.22 | 40.011 | 100.0275 |  | 0 | 0
33 | 6 | Aisle |  | KL6.080 |  | 26 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 547.14 | 27.357 | 68.3925 |  | 0 | 0
34 | 6 | Aisle |  | KL6.081 |  | 32.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 467.58 | 23.379 | 58.4475 |  | 0 | 0
35 | 6 | WC |  | KL6.082 |  | 9.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 286.13 | 14.3065 | 35.7662 |  | 0 | 0
36 | 6 | WasteHandling |  | KL6.083 |  | 12.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 324.72 | 16.236 | 40.59 |  | 0 | 0
37 | 6 | Office |  | KL6.084 |  | 10.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 270.94 | 13.547 | 33.8675 |  | 0 | 0
38 | 6 | EquipmentServiceAndRinse |  | KL6.085 |  | 10.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 375.58 | 18.779 | 46.9475 |  | 0 | 0
39 | 6 | EquipmentServiceAndRinse |  | KL6.086 |  | 10.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 375.58 | 18.779 | 46.9475 |  | 0 | 0
40 | 6 | Storage |  | KL6.087 |  | 15 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 327.14 | 16.357 | 40.8925 |  | 0 | 0
41 | 6 | Storage |  | KL6.088 |  | 17.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 345.44 | 17.272 | 43.18 |  | 0 | 0
42 | 6 | Kitchen |  | KL6.089 |  | 22.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 350.7 | 17.535 | 43.8375 |  | 0 | 0
43 | 6 | WC |  | KL6.090 |  | 10.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 274.5 | 13.725 | 34.3125 |  | 0 | 0
44 | 6 | WC |  | KL6.091 |  | 2.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 138.68 | 6.934 | 17.335 |  | 0 | 0
Note on G1: Raetz, Martin: Only numbers allowed!
Note on AH1: Schwenzer, Christian: noch zu prüfen

## Zones_TK02
Aus Etage 7
| Zone 5 |  | Zone 7 |  | Zone 8 | Zone 9
| Zone 10 | Zone 11 |  | Zone 12

## TK03_6
Index | Floor | UsageType | addition | RoomIdentifier | BelongsToIdentifier | NetArea[m²] | HeatedRoomHeight[m] | Window Count | Window 1 ID | Window 1[m] | Window 1[m] | Window1Area[m²] | Window 2 ID | Window 2[m] | Window 2[m] | Window2Area[m²] | Window 3 ID | Window 3[m] | Window 3[m] | Window3Area[m²] | Window 4 ID | Window 4[m] | Window 4[m] | Window4Area[m²] | WindowOrientation[°] | WindowArea[m²] | WindowConstruction | OuterWallOrientation[°] | Outer Wall length [drawing mm] | Outer Wall length [m] | OuterWallAreaInclWindow | OuterWallArea[m²] | OuterWallConstruction | WallAdjacentTo | Inner walls length[drawing mm] | Inner walls length[m] | InnerWallArea[m²] | InnerWallConstruction | IsGroundFloor | IsRooftop | FloorConstruction | CeilingConstruction | Window Ventilation (1/0) | Ventilated (1/0) | Mixing Ventilation (1/0) | Fan Number | Supply Flow [m³/h] | Supply Temp [°C] | Exhaust Flow [m³/h] | Exhaust Temp [°C] | Target Temperature [°C] | Heating times | Occupancy schedule | Occupancy Intensity | etc.
1 | 6 | Aisle |  | KL6.092 |  | 75.4 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 1330.18 | 66.509 | 166.2725 |  | 0 | 0
2 | 6 | Aisle |  | KL6.093 |  | 69.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 1250.88 | 62.544 | 156.36 |  | 0 | 0
3 | 6 | Aisle |  | KL6.094 |  | 32.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 457.79 | 22.8895 | 57.2237 |  | 0 | 0
4 | 6 | Office |  | KL6.095 |  | 14.8 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 319.85 | 15.9925 | 39.9813 |  | 0 | 0
5 | 6 | Office |  | KL6.096 |  | 14.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 323.34 | 16.167 | 40.4175 |  | 0 | 0
6 | 6 | Office |  | KL6.097 |  | 14.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 322.82 | 16.141 | 40.3525 |  | 0 | 0
7 | 6 | Office |  | KL6.098 |  | 14.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 322.82 | 16.141 | 40.3525 |  | 0 | 0
8 | 6 | Office |  | KL6.099 |  | 13.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 317.9 | 15.895 | 39.7375 |  | 0 | 0
9 | 6 | Office |  | KL6.100 |  | 15 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 327.76 | 16.388 | 40.97 |  | 0 | 0
10 | 6 | EquipmentServiceAndRinse |  | KL6.101 |  | 9.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 250.96 | 12.548 | 31.37 |  | 0 | 0
11 | 6 | EquipmentServiceAndRinse |  | KL6.102 |  | 9.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 250.5 | 12.525 | 31.3125 |  | 0 | 0
12 | 6 | Office |  | KL6.103 |  | 18.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 360.7 | 18.035 | 45.0875 |  | 0 | 0
13 | 6 | Laboratory |  | KL6.104 |  | 26.1 | 2.5 | 3 | IUA10,5-o | 1.05 | 1.67 | 1.7535 | IUA13,5-v | 1.345 | 1.67 | 2.2461 | IUA14,5-o | 1.44 | 1.67 | 2.4048 | 0 | #N/A | #N/A | 0 | 42 | 6.4044 |  | 42 | 87.46 | 4.373 | 18.5853 | 12.1808 | US04 |  | 373.46 | 18.673 | 46.6825 |  | 0 | 0
14 | 6 | Laboratory |  | KL6.105 | KL6.104 | 4.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 166.78 | 8.339 | 20.8475 |  | 0 | 0
15 | 6 | PatientRoom |  | KL6.106 |  | 30.7 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7531 |  | 42 | 89.83 | 4.4915 | 19.0889 | 13.3357 | US04 |  | 375.89 | 18.7945 | 46.9862 |  | 0 | 0
16 | 6 | Washing |  | KL6.107 | KL6.106 | 5.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 42 | 42.5 | 2.125 | 9.0312 | 9.0312 | US04 |  | 149.34 | 7.467 | 18.6675 |  | 0 | 0
17 | 6 | TechnicalRoom |  | KL6.108 |  | 10.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 275.68 | 13.784 | 34.46 |  | 0 | 0
18 | 6 | TechnicalRoom |  | KL6.109 |  | 6.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 207.08 | 10.354 | 25.885 |  | 0 | 0
19 | 6 | PatientRoom |  | KL6.110 |  | 31 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7531 |  | 42 | 87.46 | 4.373 | 18.5853 | 12.8321 | US04 |  | 373.46 | 18.673 | 46.6825 |  | 0 | 0
20 | 6 | Washing |  | KL6.111 | KL6.110 | 5.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 191.18 | 9.559 | 23.8975 |  | 0 | 0
21 | 6 | PatientRoom |  | KL6.112 |  | 24.4 | 2.5 | 2 | IU10,5-v+OTL3-v | 1.325 | 1.67 | 2.2127 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7531 |  | 42 | 87.46 | 4.373 | 18.5853 | 12.8321 | US04 |  | 359.66 | 17.983 | 44.9575 |  | 0 | 0
22 | 6 | Washing |  | KL6.113 | KL6.112 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 196.5 | 9.825 | 24.5625 |  | 0 | 0
23 | 6 | PatientRoom |  | KL6.114 |  | 26.7 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 5.7531 |  | 42 | 94.49 | 4.7245 | 20.0791 | 14.326 | US04 |  | 289.23 | 14.4615 | 36.1538 |  | 0 | 0
24 | 6 |  |  | KL6.114 |  |  | 2.5 | 0 |  | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | 132 | 82.3 | 4.115 | 17.4887 | 17.4887 | US04 |  |  | 0 | 0 |  | 0 | 0
25 | 6 | Washing |  | KL6.115 | KL6.114 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 200.84 | 10.042 | 25.105 |  | 0 | 0
26 | 6 | PatientRoom |  | KL6.116 |  | 33.6 | 2.5 | 2 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 |  | #N/A | #N/A | 0 |  | #N/A | #N/A | 0 | 132 | 5.7949 |  | 132 | 175.01 | 8.7505 | 37.1896 | 31.3947 | US04 |  | 259.81 | 12.9905 | 32.4762 |  | 0 | 0
27 | 6 |  |  | KL6.116 |  |  | 2.5 | 2 | IU11-v+OTL-v | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 |  | #N/A | #N/A | 0 |  | #N/A | #N/A | 0 | 222 | 5.7949 |  | 222 | 92.96 | 4.648 | 19.754 | 13.9591 | US04 |  |  | 0 | 0 |  | 0 | 0
28 | 6 | Washing |  | KL6.117 | KL6.116 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 198.11 | 9.9055 | 24.7638 |  | 0 | 0
29 | 6 | PatientRoom |  | KL6.118 |  | 32 | 2.5 | 2 | IU11-v+OTL3-v | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 222 | 5.7949 |  | 222 | 88.45 | 4.4225 | 18.7956 | 13.0007 | US04 |  | 427.89 | 21.3945 | 53.4862 |  | 0 | 0
30 | 6 | Washing |  | KL6.119 | KL6.118 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 198.11 | 9.9055 | 24.7638 |  | 0 | 0
31 | 6 | PatientRoom |  | KL6.120 |  | 32.7 | 2.5 | 2 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 222 | 5.7949 |  | 222 | 90.48 | 4.524 | 19.227 | 13.4321 | US04 |  | 429.12 | 21.456 | 53.64 |  | 0 | 0
32 | 6 | Washing |  | KL6.121 | KL6.120 | 5.9 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 198.11 | 9.9055 | 24.7638 |  | 0 | 0
33 | 6 | WC |  | KL6.122 |  | 2.2 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 132.58 | 6.629 | 16.5725 |  | 0 | 0
34 | 6 | Storage |  | KL6.123 |  | 7.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 213.7 | 10.685 | 26.7125 |  | 0 | 0
35 | 6 | WC |  | KL6.124 |  | 17.6 | 2.5 | 1 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 3.5404 |  | 180 | 50.93 | 2.5465 | 10.8226 | 7.2822 | US04 |  | 285.26 | 14.263 | 35.6575 |  | 0 | 0
36 | 6 | AirLock |  | KL6.125 | KL6.126 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 174.08 | 8.704 | 21.76 |  | 0 | 0
37 | 6 | IsolationRoom |  | KL6.126 |  | 19.9 | 2.5 | 2 | IU11-v+OTL3-v | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7949 |  | 180 | 84.45 | 4.2225 | 17.9456 | 12.1507 | US04 |  | 268.6 | 13.43 | 33.575 |  | 0 | 0
38 | 6 | Washing |  | KL6.127 | KL6.126 | 6.3 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 201.25 | 10.0625 | 25.1562 |  | 0 | 0
39 | 6 | AirLock |  | KL6.128 | KL6.129 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 174.06 | 8.703 | 21.7575 |  | 0 | 0
40 | 6 | IsolationRoom |  | KL6.129 |  | 19.3 | 2.5 | 2 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7949 |  | 180 | 86.98 | 4.349 | 18.4833 | 12.6884 | US04 |  | 265.8 | 13.29 | 33.225 |  | 0 | 0
41 | 6 | Washing |  | KL6.130 | KL6.129 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 195.5 | 9.775 | 24.4375 |  | 0 | 0
42 | 6 | AirLock |  | KL6.131 | KL6.132 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 186.32 | 9.316 | 23.29 |  | 0 | 0
43 | 6 | IsolationRoom |  | KL6.132 |  | 19.3 | 2.5 | 2 | IU11-v+OTL3-v | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7949 |  | 180 | 86.98 | 4.349 | 18.4833 | 12.6884 | US04 |  | 265.8 | 13.29 | 33.225 |  | 0 | 0
44 | 6 | Washing |  | KL6.133 | KL6.132 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 195.5 | 9.775 | 24.4375 |  | 0 | 0
45 | 6 | AirLock |  | KL6.134 | KL6.135 | 4.7 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 186.32 | 9.316 | 23.29 |  | 0 | 0
46 | 6 | IsolationRoom |  | KL6.135 |  | 19.3 | 2.5 | 2 | IU11-o+VTL3-o | 1.35 | 1.67 | 2.2545 | IU21-o | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7949 |  | 180 | 86.98 | 4.349 | 18.4833 | 12.6884 | US04 |  | 265.8 | 13.29 | 33.225 |  | 0 | 0
47 | 6 | Washing |  | KL6.136 | KL6.135 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 195.5 | 9.775 | 24.4375 |  | 0 | 0
48 | 6 | PatientRoom |  | KL6.137 |  | 24.4 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7531 |  | 180 | 87.03 | 4.3515 | 18.4939 | 12.7407 | US04 |  | 362.26 | 18.113 | 45.2825 |  | 0 | 0
49 | 6 | Washing |  | KL6.138 | KL6.137 | 6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 195.5 | 9.775 | 24.4375 |  | 0 | 0
50 | 6 | PatientRoom |  | KL6.139 |  | 27.8 | 2.5 | 2 | IU10,5-o+VTL3-o | 1.325 | 1.67 | 2.2127 | IU21-v | 2.12 | 1.67 | 3.5404 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 180 | 5.7531 |  | 180 | 89.93 | 4.4965 | 19.1101 | 13.357 | US04 |  | 334.41 | 16.7205 | 41.8012 |  | 0 | 0
Note on G1: Raetz, Martin: Only numbers allowed!
Note on AH1: Schwenzer, Christian: noch zu prüfen

## Zones_TK03
Aus Etage 7
| Zone 1 | Zone 2 | Zone 3
| Zone 4 | Zone 5 | Zone 6

## TK31_6
Index | Floor | UsageType | addition | RoomIdentifier | BelongsToIdentifier | NetArea[m²] | HeatedRoomHeight[m] | Window Count | Window 1 ID | Window 1[m] | Window 1[m] | Window1Area[m²] | Window 2 ID | Window 2[m] | Window 2[m] | Window2Area[m²] | Window 3 ID | Window 3[m] | Window 3[m] | Window3Area[m²] | Window 4 ID | Window 4[m] | Window 4[m] | Window4Area[m²] | WindowOrientation[°] | WindowArea[m²] | WindowConstruction | OuterWallOrientation[°] | Outer Wall length [drawing mm] | Outer Wall length [m] | OuterWallAreaInclWindow | OuterWallArea[m²] | OuterWallConstruction | WallAdjacentTo | Inner walls length[drawing mm] | Inner walls length[m] | InnerWallArea[m²] | InnerWallConstruction | IsGroundFloor | IsRooftop | FloorConstruction | CeilingConstruction | Window Ventilation (1/0) | Ventilated (1/0) | Mixing Ventilation (1/0) | Fan Number | Supply Flow [m³/h] | Supply Temp [°C] | Exhaust Flow [m³/h] | Exhaust Temp [°C] | Target Temperature [°C] | Heating times | Occupancy schedule | Occupancy Intensity | etc.
1 | 6 | Stairway |  | KL6.P1 |  | 23.6 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 418.72 | 20.936 | 52.34 |  | 0 | 0
2 | 6 | Stairway |  | KL6.P2 |  | 22.6 | 2.5 | 1 | IU13-o | 1.3 | 0.49 | 0.637 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 0.637 |  | 42 | 60.03 | 3.0015 | 12.7564 | 12.1194 | US04 |  | 403.77 | 20.1885 | 50.4713 |  | 0 | 0
3 | 6 | Stairway |  | KL6.P3 |  | 20 | 2.5 | 1 | IU13-o | 1.3 | 0.49 | 0.637 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 42 | 0.637 |  | 42 | 56.22 | 2.811 | 11.9467 | 11.3097 | US04 |  | 340.2 | 17.01 | 42.525 |  | 0 | 0
4 | 6 | Aisle |  | KL6.YK |  | 45.1 | 2.5 | 4 |  | 2.315 | 1.35 | 3.1253 | #N/A | 2.315 | 1.35 | 3.1253 | #N/A | 2.315 | 1.35 | 3.1253 | #N/A | 2.315 | 1.35 | 3.1253 | 312 | 12.501 |  | 312 | 201 | 10.05 | 42.7125 | 30.2115 | US04 |  | 179.66 | 8.983 | 22.4575 |  | 0 | 0
5 | 6 |  |  | KL6.YK |  |  | 2.5 | 4 |  | 2.315 | 1.35 | 3.1253 | #N/A | 2.315 | 1.35 | 3.1253 | #N/A | 2.315 | 1.35 | 3.1253 | #N/A | 2.315 | 1.35 | 3.1253 | 132 | 12.501 |  | 132 | 201 | 10.05 | 42.7125 | 30.2115 | US04 |  |  | 0 | 0 |  | 0 | 0
Note on G1: Raetz, Martin: Only numbers allowed!
Note on AH1: Schwenzer, Christian: noch zu prüfen

## U-Wert
US04 | Material | Thickness | Lambda | R | Uwert | Sum of Uwert
1 | Alufolie beschichtete | 0.004 | 160 | 2.5e-05 | 0.21577 | 0.21577
2 | Z purlins | 0.034 | 5 | 0.0068
3 | Ventilation space | 0.025 | 5 | 0.005
4 | Wind shield plate | 0.008 | 5 | 0.0016
5 | Thermalinsulation | 0.175 | 0.04 | 4.375
6 | Concrete | 0.16 | 2.1 | 0.07619 |  |  | 0.21577
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!