## GeneralNotes
2019-10-11 | CSC: In this file none of the adjacent zones are considered in the Calculation of outside/inside walls. All walls adjacent to Zones including the courtyard are considered to be interior walls.

## Konstanten
Deckenhöhe [m]
Fenster | 1.35
Zimmer | 2.5
Etagenhöhe | 4.25

## Windows
Floor 6
ROOM NUMBER | WINDOW ID | SIZE |  | KD2 | AMOUNT | TOTAL NUMBER WINDOWS
KL6.007 | IU11-v | 1100 | 1320 |  | 1 | 82
KL6.007 | IU18-v | 1795 | 1320 |  | 1
KL6.007 | IU8-o | 800 | 1320 |  | 1
KL6.008 | IU16-o | 1615 | 1320 |  | 1
KL6.008 | IU8-v | 800 | 1320 |  | 1
KL6.009 | IU16-v | 1615 | 1320 |  | 1
KL6.009 | IU8-o | 800 | 1320 |  | 1
KL6.010 | IU17,5-o | 1740 | 1320 |  | 1
KL6.010 | IU8-v | 800 | 1320 |  | 1
KL6.012 | IU17,5-v | 1740 | 1320 |  | 1
KL6.012 | IU8-o | 800 | 1320 |  | 1
KL6.013 | IU18,5-o | 1855 | 1320 |  | 1
KL6.013 | IU7-v | 675 | 1320 |  | 1
KL6.015 | IUA21-o | 2120 | 1670 |  | 1
KL6.015 | IUA6-v | 570 | 1670 |  | 1
KL6.018 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.018 | IU21-v | 2120 | 1670 |  | 1
KL6.020 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.020 | IU21-o | 2120 | 1670 |  | 1
KL6.022 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.022 | IU21-v | 2120 | 1670 |  | 1
KL6.024 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.024 | IU20-v | 1995 | 1670 |  | 1
KL6.026 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.026 | IU20-o | 1995 | 1670 |  | 1
KL6.029 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.029 | IU20-v | 1995 | 1670 |  | 1
KL6.032 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.032 | IU20-o | 1995 | 1670 |  | 1
KL6.035 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.035 | IU20-v | 1995 | 1670 |  | 1
KL6.038 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.038 | IU20-o | 1995 | 1670 |  | 1
KL6.055 | IUA24-v | 2410 | 1670 |  | 1
KL6.055 | IUA9,5-o | 940 | 1670 |  | 1
KL6.057 | IUA18,5-o | 1840 | 1670 |  | 1
KL6.057 | IUA6-o | 610 | 1670 |  | 2
KL6.058 | IU18-o+VTL3-o | 2075 | 1670 |  | 1
KL6.058 | IU21-v | 2120 | 1670 |  | 1
KL6.062 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.062 | IU21-o | 2120 | 1670 |  | 1
KL6.064 | IU11-v+OTL-v | 1350 | 1670 |  | 1
KL6.064 | IU21-o | 2120 | 1670 |  | 1
KL6.066 | IU20-o | 1995 | 1670 |  | 1
KL6.066 | IU9,5-v+VTL3-o | 1200 | 1670 |  | 1
KL6.068 | IU11,5-v+TL3-v | 1155 | 1670 |  | 1
KL6.068 | IU21-o | 2120 | 1670 |  | 1
KL6.104 | IUA10,5-o | 1050 | 1670 |  | 1
KL6.104 | IUA13,5-v | 1345 | 1670 |  | 1
KL6.104 | IUA14,5-o | 1440 | 1670 |  | 1
KL6.106 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.106 | IU20-o | 1995 | 1670 |  | 1
KL6.110 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.110 | IU21-v | 2120 | 1670 |  | 1
KL6.112 | IU10,5-v+OTL3-v | 1325 | 1670 |  | 1
KL6.112 | IU21-o | 2120 | 1670 |  | 1
KL6.114 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.114 | IU21-v | 2120 | 1670 |  | 1
KL6.116 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.116 | IU14,5-o | 1445 | 540 |  | 1
KL6.116 | IU14,5-v | 1445 | 540 |  | 1
KL6.116 | IU19,5-v | 1970 | 1670 |  | 1
KL6.118 | IU11-v+OTL3-v | 1350 | 1670 |  | 1
KL6.118 | IU21-o | 2120 | 1670 |  | 1
KL6.120 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.120 | IU21-v | 2120 | 1670 |  | 1
KL6.124 | IU21-v | 2120 | 1670 |  | 1
KL6.126 | IU11-v+OTL3-v | 1350 | 1670 |  | 1
KL6.126 | IU21-o | 2120 | 1670 |  | 1
KL6.129 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.129 | IU21-v | 2120 | 1670 |  | 1
KL6.132 | IU11-v+OTL3-v | 1350 | 1670 |  | 1
KL6.132 | IU21-o | 2120 | 1670 |  | 1
KL6.135 | IU11-o+VTL3-o | 1350 | 1670 |  | 1
KL6.135 | IU21-v | 2120 | 1670 |  | 1
KL6.137 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.137 | IU20-v | 1995 | 1670 |  | 1
KL6.139 | IU10,5-o+VTL3-o | 1325 | 1670 |  | 1
KL6.139 | IU21-o | 2120 | 1670 |  | 1
KL6.P2 | IU13-o | 1300 | 490 | EI 30 | 1
KL6.P3 | IU13-o | 1300 | 490 |  | 1

## TK03_6
Index | Floor | UsageType | addition | RoomIdentifier | BelongsToIdentifier | NetArea[m²] | HeatedRoomHeight[m] | Window Count | Window 1 ID | Window 1[m] | Window 1[m] | Window1Area[m²] | Window 2 ID | Window 2[m] | Window 2[m] | Window2Area[m²] | Window 3 ID | Window 3[m] | Window 3[m] | Window3Area[m²] | Window 4 ID | Window 4[m] | Window 4[m] | Window4Area[m²] | WindowOrientation[°] | WindowArea[m²] | WindowConstruction | OuterWallOrientation[°] | Outer Wall length [drawing mm] | Outer Wall length [m] | OuterWallAreaInclWindow | OuterWallArea[m²] | OuterWallConstruction | WallAdjacentTo | Inner walls length[drawing mm] | Inner walls length[m] | InnerWallArea[m²] | InnerWallConstruction | IsGroundFloor | IsRooftop | FloorConstruction | CeilingConstruction | Window Ventilation (1/0) | Ventilated (1/0) | Mixing Ventilation (1/0) | Fan Number | Supply Flow [m³/h] | Supply Temp [°C] | Exhaust Flow [m³/h] | Exhaust Temp [°C] | Target Temperature [°C] | Heating times | Occupancy schedule | Occupancy Intensity | etc.
7 | 6 | Office |  | KL6.098 |  | 14.5 | 2.5 | 0 | #N/A | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | 0 | #N/A | #N/A | 0 | N/A | 0 |  | N/A |  | 0 | 0 | 0 |  |  | 322.82 | 16.141 | 40.3525 |  | 0 | 0
Note on G1: Raetz, Martin: Only numbers allowed!
Note on AH1: Schwenzer, Christian: noch zu prüfen

## Zones_TK03
Aus Etage 7
| Zone 1 | Zone 2 | Zone 3
| Zone 4 | Zone 5 | Zone 6

## U-Wert
US04 | Material | Thickness | Lambda | R | Uwert | Sum of Uwert
1 | Alufolie beschichtete | 0.004 | 160 | 2.5e-05 | 0.21577 | 0.21577
2 | Z purlins | 0.034 | 5 | 0.0068
3 | Ventilation space | 0.025 | 5 | 0.005
4 | Wind shield plate | 0.008 | 5 | 0.0016
5 | Thermalinsulation | 0.175 | 0.04 | 4.375
6 | Concrete | 0.16 | 2.1 | 0.07619 |  |  | 0.21577
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!